## Slide 1: Towards The Unsupervised Detection of Novel RFI Sources
Participants:
Sean Bohun (UOIT),
Nicholas Bruce (UVic),
Chris Budd (Bath),
Ryan Campbell (McGill),
Rory Coles (UOIT),
Dave DelRizzo (DRAO),
Stephen Harrison (DRAO),
Seth Siegel (McGill)

## Slide 2: Introduction
The Dominion Radio Astrophysical Observatory (DRAO) is located in a geographically isolated region near Penticton B.C.
This is the site of a multitude of sensitive RF detectors that require a quiet RF spectrum to effectively operate.
For any given day, the site can experience any number of transient RF signals due to a variety of sources.

## Slide 3: IPSW Questions
DRAO would like to develop the capability to:
Classify and Cluster the set of known RF sources as they are determined
Identify any novel RF sources that have not been previously classified
Provide a set of descriptors for each novel source
Update the clusters dynamically as novel sources are identified
Once identified, the hope is that any novel sources can be eliminated with this technique.

## Slide 4: Site map

## Slide 5: RFI: Static

## Slide 6: The Dynamic RF Scene
Detection of RFI in time-frequency space.
ML bounding box approach.
Notes: 50 MHz for 2 minutes. This is the data we brought, 30 files like this (1 hour of observing). We want to observe 2000 MHz for all day every day.
1kHz frequency resolution
100ms time resolution. We would like to observe higher cadence.
Bounding box approach tries to draw a box around the frequency and time range in which one signal exists.
Point out vertical stripe: Some electrical equipment generates a short wideband burst of RF energy. This is a different class of events, but we are interested in characterizing them.

## Slide 7: Separate the signals by using a bounding box

## Slide 9: Results: Separated signals

## Slide 10: Sample signal types Short tone burst
Spectrograph
t
f
t
A

## Slide 11
Frequency Shift Key (FSK)

## Slide 12
Amplitude Shift Key (ASK)

## Slide 13
Noisy burst

## Slide 14
Unknown (Box)

## Slide 15: Want to differentiate between different signals
Signals have different modulation types
eg:
Analogue: AM, SSB,DSB, FM, PM,
Digital: ASK, FSK, PSK, QAM, BPSK
Can separate signals by looking at their modulation types

## Slide 16: Cumulants
Higher order cumulants are claimed to be able to do this
Higher order moment
Higher order cumulant

## Slide 17
Papers claiming this base their claims on using polynomial supervised learning from synthetic data!
We are using unsupervised learning from real data

## Slide 18: Also: Count the number of time and frequency peaks

## Slide 19: Features vector
From each detection, the following 13 features were extracted for use in clustering:
  Center Frequency (Hz)
  Bandwidth (Hz)
  C42 (4th order power cumulant)
  C63 (6th order power cumulant)
  Transmission length (seconds)
  Pdb (2nd order power cumulant)
  Number of peaks in the frequency direction
  Number of peaks in the time direction
  Prominence of the major frequency peak
  Avg. spacing of the frequency peaks
  Avg. spacing of the time peaks
  Normalized power centroid in the time direction
  Width in the frequency direction (channels)

## Slide 20
Various algorithms exist for clustering: DBSCAN, WARD (Matlab)
Clustering the feature vectors in the data
Cluster on the cumulants

## Slide 21
Cluster on number of time and frequency peaks

## Slide 22: Hierarchical clustering
The two cluster indices appear to be independent
Time-frequency cluster index: tf
Cumulant index: cc

## Slide 23: Combine the cluster indices
Give a combined cluster index vector
I = (cc,tf)
This seems to be effective in classifying the signals and identifying new signals

## Slide 24: Cluster 1: I = (2,4)

## Slide 25: Cluster 2: I = (2,2)

## Slide 26: Cluster 3: I = (1,3)

## Slide 27: Cluster 7: I = (1,4)

## Slide 28: Cluster 8: I = (1,1)

## Slide 29: Autoencoder approach
Separately, two methods were tried using a convolutional autoencoder on the baseband time-series data:
  The first idea is to shove all the signals into the encoder, and use the latent feature space for clustering (in progress)
  The second idea is to not cluster, instead training the autoencoder on the full dataset, then compute the difference between the input and the reconstruction. If the error is large enough, it’s “anomalous”.

## Slide 30: Autoencoder approach
  First it was trained on all of the dataset with a Pdb greater than 40 dB, then compared with simulated pure white noise (on the right)
    Next a collection of real signals known to be noisy was used for training, and then the rest were for testing (in progress)
  The following slides show the process of separating those signals using a parallel coordinates plot

## Slide 31: Full dataset

## Slide 32: Dataset for training (see pink)

## Slide 33: Data for testing (see pink)

## Slide 34: Conclusions and future work